## oil boiler, hydronic baseboard,
Fuel Oil | [12 empty] | 293.0711 | kwh per MMBTU
[13 empty] | 138690 | BTUs per gallon
[8 empty] | Domestic hot water only (DHW) threshold | 4 |  |  |  | 36638.0392 | Oil is BTUs per litre
[8 empty] | average | 8.9421 | 2.8478 | 6.0943 | 10.7375 | Oil is 11KW per liter
[10 empty] | 31.85% | 68.15% |  | 38.6552 | MJ/liter
[12 empty] | 0.0036 | GJ per Kwh
date | days | Quantity (liters) | Price ($/liter) | Cost $ | Rebate | Taxes | Debit | Accum Fuel (liter) | Daily Consum (liter/day) | For DHW Only (liter) | Space Heating (liter) | 36638 | BTUs per litre |  | https://halifax.weatherstats.ca/charts/hdd-monthly.html
2014-06-02 | 90 | 214.7 | 1.109 | 238.1023 | 23.8102 | 35.7153 | 250.0074 | 214.7 | 2.3856 | 2.3856 | -0.46224
2014-09-04 | 94 | 214.3 | 1.109 | 237.6587 | 23.7659 | 35.6488 | 249.5416 | 429 | 2.2798 | 2.2798 | -0.56801
2014-11-15 | 72 | 240.7 | 0.989 | 238.0523 | 23.8052 | 35.7078 | 249.9549 | 669.7 | 3.3431 | 3.3431 | 0.49526
2014-12-05 | 20 | 240.9 | 0.989 | 238.2501 | 23.825 | 35.7375 | 250.1626 | 910.6 | 12.045 |  | 9.1972
2014-12-22 | 17 | 251.2 | 0.949 | 238.3888 | 23.8389 | 35.7583 | 250.3082 | 1161.8 | 14.7765 |  | 11.9287
2015-01-13 | 22 | 433.3 | 0.879 | 380.8707 | 38.0871 | 57.1306 | 399.9142 | 1595.1 | 19.6955 |  | 16.8477
2015-01-31 | 18 | 336.5 | 0.849 | 285.6885 | 28.5689 | 42.8533 | 299.9729 | 1931.6 | 18.6944 |  | 15.8466
2015-02-12 | 12 | 265.8 | 0.899 | 238.9542 | 23.8954 | 35.8431 | 250.9019 | 2197.4 | 22.15 |  | 19.3022
2015-06-01 | 109 | 313.7 | 0.959 | 300.8383 | 30.0838 | 45.1257 | 315.8802 | 2511.1 | 2.878 | 2.878 | 0.030186
2015-06-30 | 29 | 253.8 | 0.899 | 228.1662 | 22.8166 | 34.2249 | 239.5745 | 2764.9 | 8.7517 |  | 5.9039
2015-07-14 | 14 | 554.5 | 0.959 | 531.7655 | 53.1765 | 79.7648 | 558.3538 | 3319.4 | 39.6071 |  | 36.7593
2015-11-27 | 136 | 334.5 | 0.859 | 287.3355 | 28.7336 | 43.1003 | 301.7023 | 3653.9 | 2.4596 | 2.4596 | -0.38824
2015-12-22 | 25 | 251.6 | 0.819 | 206.0604 | 20.606 | 30.9091 | 216.3634 | 3905.5 | 10.064 |  | 7.2162
2016-01-20 | 29 | 366.5 | 0.799 | 292.8335 | 29.2833 | 43.925 | 307.4752 | 4272 | 12.6379 |  | 9.7901
2016-02-18 | 29 | 361.1 | 0.759 | 274.0749 | 27.4075 | 41.1112 | 287.7786 | 4633.1 | 12.4517 |  | 9.6039
2016-02-22 | 4 | 82.4 | 0.899 | 74.0776 | 7.4078 | 11.1116 | 77.7815 | 4715.5 | 20.6 |  | 17.7522
2016-03-30 | 37 | 332.62 | 0.799 | 265.7634 | 26.5763 | 39.8645 | 279.0515 | 5048.12 | 8.9897 |  | 6.1419
2016-04-21 | 22 | 55.8 | 0.899 | 50.1642 | 5.0164 | 7.5246 | 52.6724 | 5103.92 | 2.5364 | 2.5364 | -0.31143
2016-06-21 | 61 | 328.3 | 0.819 | 268.8777 | 26.8878 | 40.3317 | 282.3216 | 5432.22 | 5.382 |  | 2.5342
2016-11-02 | 134 | 319.5 | 0.829 | 264.8655 | 26.4866 | 39.7298 | 278.1088 | 5751.72 | 2.3843 | 2.3843 | -0.46347
2016-12-21 | 49 | 445 | 0.859 | 382.255 | 38.2255 | 57.3383 | 401.3678 | 6196.72 | 9.0816 |  | 6.2338
2017-01-26 | 36 | 411.1 | 0.879 | 361.3569 | 36.1357 | 54.2035 | 379.4247 | 6607.82 | 11.4194 |  | 8.5716
2017-03-01 | 34 | 401.1 | 0.899 | 360.5889 | 36.0589 | 54.0883 | 378.6183 | 7008.92 | 11.7971 |  | 8.9493
2017-04-12 | 42 | 400.7 | 0.899 | 360.2293 | 36.0229 | 54.0344 | 378.2408 | 7409.62 | 9.5405 |  | 6.6927
2017-07-05 | 84 | 279.1 | 0.899 | 250.9109 | 25.0911 | 37.6366 | 263.4564 | 7688.72 | 3.3226 | 3.3226 | 0.47482
2017-11-22 | 140 | 391.8 | 0.899 | 352.2282 | 35.2228 | 52.8342 | 369.8396 | 8080.52 | 2.7986 | 2.7986 | -0.049224
2018-01-10 | 49 | 543.8 | 0.949 | 516.0662 | 51.6066 | 77.4099 | 541.8695 | 8624.32 | 11.098 |  | 8.2502
2018-02-10 | 31 | 480.3 | 0.999 | 479.8197 | 47.982 | 71.973 | 503.8107 | 9104.62 | 15.4935 |  | 12.6458
2018-04-18 | 67 | 446.4 | 0.999 | 445.9536 | 44.5954 | 66.893 | 468.2513 | 9551.02 | 6.6627 |  | 3.8149
2018-08-23 | 127 | 329.3 | 1.009 | 332.2637 | 33.2264 | 49.8396 | 348.8769 | 9880.32 | 2.5929 | 2.5929 | -0.25488
2018-11-21 | 90 | 282.5 | 1.069 | 301.9925 | 30.1992 | 45.2989 | 317.0921 | 10162.82 | 3.1389 | 3.1389 | 0.29109
2019-01-09 | 49 | 714.1 | 1.009 | 720.5269 | 72.0527 | 108.079 | 756.5532 | 10876.92 | 14.5735 |  | 11.7257
2019-02-27 | 49 | 507 | 1.059 | 536.913 | 53.6913 | 80.537 | 563.7586 | 11383.92 | 10.3469 |  | 7.4991
2019-04-24 | 56 | 513 | 1.059 | 543.267 | 54.3267 | 81.49 | 570.4303 | 11896.92 | 9.1607 |  | 6.3129
2019-08-22 | 120 | 418 | 1.059 | 442.662 | 44.2662 | 66.3993 | 464.7951 | 12314.92 | 3.4833 | 3.4833 | 0.63554
2019-11-21 | 91 | 330 | 1.039 | 342.87 | 34.287 | 51.4305 | 360.0135 | 12644.92 | 3.6264 | 3.6264 | 0.77858
2020-01-16 | 56 | 547.9 | 1.069 | 585.7051 | 58.5705 | 87.8558 | 614.9904 | 13192.82 | 9.7839 |  | 6.9361
2020-02-27 | 42 | 490.7 | 1.019 | 500.0233 | 50.0023 | 75.0035 | 525.0245 | 13683.52 | 11.6833 |  | 8.8355
2020-05-05 | 68 | 577.5 | 0.679 | 392.1225 | 39.2122 | 58.8184 | 411.7286 | 14261.02 | 8.4926 |  | 5.6449
2020-09-01 | 119 | 293.3 | 0.759 | 222.6147 | 22.2615 | 33.3922 | 233.7454 | 14554.32 | 2.4647 | 2.4647 | -0.38309
2020-11-18 | 78 | 351.2 | 0.809 | 284.1208 | 28.4121 | 42.6181 | 298.3268 | 14905.52 | 4.5026 |  | 1.6548
2021-01-21 | 64 | 601.8 | 0.929 | 559.0722 | 55.9072 | 83.8608 | 587.0258 | 15507.32 | 9.4031 |  | 6.5553
2021-04-26 | 95 | 318.3 | 0.869 | 276.6027 | 27.6603 | 41.4904 | 290.4328 | 15825.62 | 3.3505 | 3.3505 | 0.50273
2021-09-13 | 140 | 347.5 | 0.879 | 305.4525 | 30.5452 | 45.8179 | 320.7251 | 16173.12 | 2.4821 | 2.4821 | -0.36565
2021-10-29 | 46 | 98.4 | 1.059 | 104.2056 | 10.4206 | 15.6308 | 109.4159 | 16271.52 | 2.1391 | 2.1391 | -0.70867
2021-12-22 | 54 | 419.7 | 1.029 | 431.8713 | 43.1871 | 64.7807 | 453.4649 | 16691.22 | 7.7722 |  | 4.9244
2022-01-17 | 26 | 330.3 | 1.129 | 372.9087 | 37.2909 | 55.9363 | 391.5541 | 17021.52 | 12.7038 |  | 9.8561
2022-03-04 | 46 | 547.9 | 1.449 | 793.9071 | 79.3907 | 119.0861 | 833.6025 | 17569.42 | 11.9109 |  | 9.0631
2022-04-25 | 52 | 461.9 | 1.609 | 743.1971 | 74.3197 | 111.4796 | 780.357 | 18031.32 | 8.8827 |  | 6.0349
2022-10-17 | 175 | 447.1 | 1.839 | 822.2169 | 82.2217 | 123.3325 | 863.3277 | 18478.42 | 2.5549 | 2.5549 | -0.29294
2022-12-16 | 60 | 296.2 | 1.559 | 461.7758 | 46.1776 | 69.2664 | 484.8646 | 18774.62 | 4.9367 |  | 2.0889
2023-02-06 | 52 | 638.4 | 1.669 | 1065.4896 | 106.549 | 159.8234 | 1118.7641 | 19413.02 | 12.2769 |  | 9.4291
2023-03-14 | 36 | 410.3 | 1.309 | 537.0827 | 53.7083 | 80.5624 | 563.9368 | 19823.32 | 11.3972 |  | 8.5494
2023-09-05 | 175 | 680.3 | 1.509 | 1026.5727 | 102.6573 | 153.9859 | 1077.9013 | 20503.62 | 3.8874 | 3.8874 | 1.0396
3382 | 3472 | 20503.62 | 1.0416 | 21355.6334 | 2135.5633 | 3203.345 | 22423.415 | 20503.62
Price | 6.0626 | l per day | 2214.3546 | Liters per year |  | 85.5963 | 1.0936
1.5844 | 6.6302 | $ per day | historically
| 9.6058 | $ per day | forecast
| 3508.5341 | $ per year |  | 2339.0227 |  |  |  | 291.6667
| 292.3778 | $ per month |  |  |  |  | total
| 81.1295 | MMBTU/year
| 23776.7416 | kwh/year
| 85.5963 | GJ per year energy assessment says 108 GJ/yr total oil
| 43.2461 | $/MMBTU
| 40.9893 | $/GJ
| 0.14756 | $/kwh
| 234.3498 | MJ/d
| 222120.5291 | BTU/day
| 65.0972 | kwh/day
| 44.3656 | kwh/day heating only
| 0.83 | furnace efficiency
| 5235.2843 | BTU/hr heating required. Average, so kinda useless. See heating degree-day analysis
| 13449.779 | kwh per year of heat
| 48.4192 | GJ per year of heating
| 2.5 | heat pump COP
| 5379.9116 | theoretical kwh per year to power heat pump
| 19.3677 | GJ per year
| 29.0515 | GJ savings
| 0.184 | $/kwh (NSP rate + GST)
| 989.9037 | $/year heat pump
| 2225.4264 | $/year fuel oil for heating
| 1235.5226 | yearly savings
| 10000 | cost after rebates
| 8.0937 | years payback

## oil boiler, hydronic baseboar-1
Home Heating Oil Deliveries | [5 empty] | threshold | 4
[6 empty] | average | 8.349 | 2.5299 | 5.819
[8 empty] | 30.3% | 69.7%
summary | 7171.2712 | 1.2286 | 8810.32 |  |  | 1070 |  |  |  | 4329.2451
Date | Litres | Price per Litre | Cost |  |  | Days | Litres per Day | HW Only? | Heating Only | Heating Period | Cost per day | Total Cum Litres | Cost for Heat per day
2020-06-30 | 134.9939 | 0.5984 | 80.78 | [8 empty] | 134.9939
2020-10-08 | 239.9603 | 0.6404 | 153.67 |  |  | 100 | 2.3996 | 2.3996 | -0.13033 | -13.0334 | 1.5367 | 374.9541 | -0.083466
2020-11-12 | 210.5 | 0.66138 | 139.22 |  |  | 35 | 6.0143 |  | 3.4843 | 121.9522 | 3.9777 | 585.4541 | 2.3045
2020-12-02 | 136.9 | 0.73492 | 100.61 |  |  | 20 | 6.845 |  | 4.3151 | 86.3013 | 5.0305 | 722.3541 | 3.1712
2020-12-21 | 165.8 | 0.76641 | 127.07 | #REF! |  | 19 | 8.7263 |  | 6.1964 | 117.7312 | 6.6879 | 888.1541 | 4.7489
2021-01-13 | 242.9 | 0.7979 | 193.81 | #REF! |  | 23 | 10.5609 |  | 8.0309 | 184.7115 | 8.4265 | 1131.0541 | 6.4079
2021-02-01 | 204.4 | 0.83992 | 171.68 | #REF! |  | 19 | 10.7579 |  | 8.228 | 156.3312 | 9.0358 | 1335.4541 | 6.9108
2021-03-01 | 331 | 0.94489 | 312.76 | #REF! |  | 28 | 11.8214 |  | 9.2915 | 260.1618 | 11.17 | 1666.4541 | 8.7795
2021-03-31 | 306.4 | 0.94491 | 289.52 | #REF! |  | 30 | 10.2133 |  | 7.6834 | 230.5019 | 9.6507 | 1972.8541 | 7.2601
2021-05-12 | 290.5 | 0.92389 | 268.39 | #REF! | #REF! | 42 | 6.9167 |  | 4.3867 | 184.2427 | 6.3902 | 2263.3541 | 4.0529
2021-09-15 | 318.4202 | 1.1444 | 364.4 |  |  | 126 | 2.5271 | 2.5271 | -0.0027924 | -0.35184 | 2.8921 | 2581.7743 | -0.0031956
2021-11-15 | 251.8 | 1.1444 | 288.17 | #REF! |  | 61 | 4.1279 |  | 1.5979 | 97.4739 | 4.7241 | 2833.5743 | 1.8287
2021-12-16 | 277.3332 | 1.0919 | 302.82 | #REF! |  | 31 | 8.9462 |  | 6.4163 | 198.9051 | 9.7684 | 3110.9075 | 7.006
2022-01-12 | 286.5736 | 1.1969 | 343 | #REF! |  | 27 | 10.6138 |  | 8.0839 | 218.2653 | 12.7037 | 3397.4811 | 9.6756
2022-02-10 | 413.3108 | 1.2809 | 529.41 | #REF! |  | 29 | 14.2521 |  | 11.7222 | 339.9427 | 18.2555 | 3810.7919 | 15.0149
2022-03-10 | 361.4448 | 1.8584 | 671.71 | #REF! |  | 28 | 12.9087 |  | 10.3788 | 290.6065 | 23.9896 | 4172.2367 | 19.288
2022-04-12 | 262.9677 | 1.8584 | 488.7 | #REF! |  | 33 | 7.9687 |  | 5.4388 | 179.4798 | 14.8091 | 4435.2044 | 10.1074
2022-06-02 | 279.4667 | 1.7114 | 478.28 | #REF! |  | 51 | 5.4797 |  | 2.9498 | 150.44 | 9.378 | 4714.6712 | 5.0483
2022-09-21 | 295.6 | 1.4279 | 422.09 | #REF! |  | 111 | 2.6631 | 2.6631 | 0.13313 | 14.777 | 3.8026 | 5010.2712 | 0.19009
2022-11-21 | 264.7 | 1.6799 | 444.66 | #REF! |  | 61 | 4.3393 |  | 1.8094 | 110.3739 | 7.2895 | 5274.9712 | 3.0396
2022-12-17 | 252.3 | 1.6379 | 413.23 | #REF! |  | 26 | 9.7038 |  | 7.1739 | 186.5216 | 15.8935 | 5527.2712 | 11.7498
2023-01-14 | 329 | 1.5959 | 525.05 |  |  | 28 | 11.75 |  | 9.2201 | 258.1618 | 18.7518 | 5856.2712 | 14.7143
2023-02-16 | 418.3 | 1.4909 | 623.64 |  |  | 33 | 12.6758 |  | 10.1458 | 334.8121 | 18.8982 | 6274.5712 | 15.1263
2023-03-15 | 322.9 | 1.3754 | 444.12 |  |  | 27 | 11.9593 |  | 9.4293 | 254.5917 | 16.4489 | 6597.4712 | 12.9692
2023-04-19 | 321.4 | 1.1549 | 371.19 |  |  | 35 | 9.1829 |  | 6.6529 | 232.8522 | 10.6054 | 6918.8712 | 7.6836
2023-06-05 | 252.4 | 1.0394 | 262.34 |  |  | 47 | 5.3702 |  | 2.8403 | 133.493 | 5.5817 | 7171.2712 | 2.9521

## electrical baseboards, R2000
electricity rate | 0.163 | $/KW-h |  |  | base threshold | 40 |  | heat pump COP | 2.5
[5 empty] | base average | 25
Date | Reading (Kw-h) | Days | Usage Over Period (KW-h) | Daily Usage | Base Load Only | Daily Heating (KW-h) | Daily Heating Cost | Daily Heat Pump Energy | Daily Cost Heat Pump
2022-10-21 | 68903.4
2022-12-20 | 72029.18 | 60 | 3125.78 | 52.0963 |  | 27.0963 | 4.4167 | 10.8385 | 1.7667
2023-02-20 | 77127.16 | 62 | 5097.98 | 82.2255 |  | 57.2255 | 9.3278 | 22.8902 | 3.7311
2023-04-21 | 80757.94 | 60 | 3630.78 | 60.513 |  | 35.513 | 5.7886 | 14.2052 | 2.3154
2023-06-22 | 82898.8 | 62 | 2140.86 | 34.53 | 34.53 | 9.53 | 1.5534 | 3.812 | 0.62136
2023-08-23 | 84448.66 | 62 | 1549.86 | 24.9977 | 24.9977 | -0.0022581 | -0.00036806 | -0.00090323 | -0.00014723
2023-10-23 | 85967.89 | 61 | 1519.23 | 24.9054 | 24.9054 | -0.09459 | -0.015418 | -0.037836 | -0.0061673
totals | 17064.49 | 367 |  |  | 9131.25 |  | 7933.24 | 3175.796
annual costs | 2781.5119 |  |  |  | 1488.3937 |  | 1293.1181 |  | 517.6547
[5 empty] | heating degree-days (hdd) over time span | 3619.726 | using 18C as threshold
[5 empty] | Resistive baseboard KW-h/hdd | 2.1934
[5 empty] | baseboard $/hdd | 0.35752
[5 empty] | baseboard heating season | 7939.49 | KW-h
[5 empty] | baseboard annual cost | 1294.1369
[5 empty] | Heat pump KW-h/hdd | 0.87736
[5 empty] | Heat pump heating season energy | 3175.796 | KW-h
[5 empty] | Heat pump annual cost | 517.6547
[5 empty] | yearly savings | 776.4821
[5 empty] | payback | 12.8786 | years